## Sheet1
stock concentration
|  | PreCh (1E-1) | 424
Run | Pari 1 | Preinfection PFU | 0 |  | PFUs/mL in neb | Total PFUs in neb | PFUs left in chamber | Theoretical PFU dispersed | Actual PFU recovered
Nebulizer | Pari Eflow | Post-disinfection PFU | 0 |  | 42400000 | 212000000 | 4240000 | 207760000 | #REF! |  | #REF!
Date | 2025-03-13 | Control | 0
Solution | dH2O |  |  |  |  | In Tube for Soft Agar Plating |  |  |  | In Cup/Stage |  | Overall
|  | What was added to epi tube per stage | Stage | # PFUs/100 µL | # PFUs/100 µL 1E-01 | # PFUs/100 µL 1E-02 | # PFUs/100 µL 1E-03 | # PFUs/mL | # PFUs/µL | Total # PFUs in cup | # PFUs/mL | PFUs left in chamber | Notes
Pre-weight (g) | 42.1 | 1 µL + 999 dH2O | Chamber
Post-weight (g) | 37.2 | 10 µL + 990 dH2O | 1 |  | X (water, tmtc) | 148 |  | 148000 | 14800 | #REF! | 14800000
Temp (˚F) | 70.4 | 10 µL + 990 dH2O | 2 |  | 1176 |  |  | 117600 | 11760 | #REF! | 11760000
RH (%) | 72 | 10 µL + 990 dH2O | 3 |  | 1748 | 118 |  | 146400 | 14640 | #REF! | 14640000
|  | 10 µL + 990 dH2O | 4 |  | TMTC | 158 |  | 158000 | 15800 | #REF! | 15800000
|  | 10 µL + 990 dH2O | 5 | TMTC |  |  | 37 | 370000 | 37000 | #REF! | 37000000
est PFU/mL In neb | 10000000 | 10 µL + 990 dH2O | 6 | TMTC |  | 208 |  | 208000 | 20800 | #REF! | 20800000
Phage used | OMKO1 | 1000 dH20 | 7 | TMTC |  |  | 108 | 10000 | 1010 | #REF! | #REF!
est PFU in neb total | 50000000 | 1000 dH20 | 8 (MOC) | 626 |  |  |  | 6260 | 1258.26 | #REF! | #REF!
Total PFU Dispersed
Volume dispersed | 4.9
Volume left in chamber | 0.1

## Sheet2
TIVP-H6, Pari LC Plus |  | Total PFU recovery |  |  |  |  | Cumulative Distribution | [8 empty] | PFU/mL
| Particle Diameter | Run 1 | Run 2 | Run 3 | Average | Standard Dev | Fraction of total PFU recovered Run 1 | Cumulative distribition Run1 | Fraction of total PFU recovered Run 2 | Cumulative distribition Run2 | Fraction of total PFU recovered Run 3 | Cumulative distribition Run3 | Fraction of total PFU recovered Average | Cumulative distribition Average |  | Run 1 | Run 2 | Run 3 | Average | Standard Dev | Accumulated PFU/mL | Fraction of total PFU/mL | Cumulative Distribution | Fraction of total PFU/mL Run 1 | Cumulative distribition Run1 | Fraction of total PFU/mL Run 2 | Cumulative distribition Run2 | Fraction of total PFU/mL Run 3 | Cumulative distribition Run3
| 14.1 | 117600 | 92400 | 126000 | 112000 | 17485.9944 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | 980000 | 770000 | 1050000 | 933333.3333 | 145716.62 | 46712053.3333 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 8.61 | 390000 | 380000 | 580000 | 450000 | 112694.2767 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | 3900000 | 3800000 | 5800000 | 4500000 | 1126942.767 | 45778720 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 5.39 | 1080000 | 1032000 | 1104000 | 1072000 | 36660.6056 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | 4500000 | 4300000 | 4600000 | 4466666.6667 | 152752.5232 | 41278720 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 3.3 | 1476000 | 1599000 | 1763000 | 1612666.6667 | 143987.268 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | 3600000 | 3900000 | 4300000 | 3933333.3333 | 351188.4584 | 36812053.3333 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 2.08 | 884000 | 1394000 | 1564000 | 1280666.6667 | 353883.2199 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | 2600000 | 4100000 | 4600000 | 3766666.6667 | 1040832.9997 | 32878720 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 1.36 | 396000 | 352000 | 528000 | 425333.3333 | 91593.304 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | 3600000 | 3200000 | 4800000 | 3866666.6667 | 832666.3998 | 29112053.3333 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 0.98 | 76760 | 89890 | 91910 | 86186.6667 | 8225.9731 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | 7676000 | 8989000 | 9191000 | 8618666.6667 | 822597.3093 | 25245386.6667 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| MOC | 2874.3 | 3316.5 | 243210 | 83133.6 | 138630.4053 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 |  | 574860 | 663300 | 48642000 | 16626720 | 27726081.0523 | 16626720 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0
| Total | 4423234.3 | 4942606.5 | 6000120 | 5121986.9333 | [9 empty] | Total | 27430860 | 29722300 | 82983000 | 46712053.3333
[13 empty] | MMAD | 4.1886

## Sheet3
Particle Diameter | Sample | Replicate | PFUs on Plate | PFU/mL in eppendorf | If there was a 1mL dilution, then a 1000 df here | Dilution from what was taken into eppendorf (1:100/1:1000) | What was that eppendorf diluted by to make countable plaques? | Total Dilution | PFU/mL in cup | Volume | Number PFU | Fraction of total PFU recovered | cumulative PFU | cumulative PFU recovered
| Pre | 1 | 342 | 3420 | 1 | 1000 | 100 | 100000 | 342000000 | NA | NA
14.1 | 1 | 1 | 27 | 270 | 100 | 100 | 100 | 1000000 | 270000000 | 0.1911 | 51597000 | 0.048092 | 1072884400 | 1
8.61 | 2 | 1 | 136 | 1360 | 1 | 100 | 1000 | 100000 | 136000000 | 0.2891 | 39317600 | 0.036647 | 1021287400 | 0.95191
5.39 | 3 | 1 | 210 | 2100 | 1 | 100 | 1000 | 100000 | 210000000 | 0.9653 | 202713000 | 0.18894 | 981969800 | 0.91526
3.3 | 4 | 1 | 394 | 3940 | 1 | 100 | 1000 | 100000 | 394000000 | 1.5876 | 625514400 | 0.58302 | 779256800 | 0.72632
2.08 | 5 | 1 | 236 | 2360 | 1 | 100 | 1000 | 100000 | 236000000 | 0.5684 | 134142400 | 0.12503 | 153742400 | 0.1433
1.36 | 6 | 1 | 220 | 2200 | 1 | 100 | 1000 | 100000 | 220000000 | 0.0882 | 19404000 | 0.018086 | 19600000 | 0.018269
0.98 | 7 | 1 | 26 | 260 | 1000 | 100 | 1 | 100000 | 26000000 | 0.0049 | 127400 | 0.00011875 | 196000 | 0.00018269
MOC | 8 | 1 | 7 | 70 | 1000 | 100 | 1 | 100000 | 7000000 | 0.0098 | 68600 | 6.394e-05 | 68600 | 6.394e-05
| Post | 1 | 343 | 3430 | 1 | 1000 | 10 | 10000 | 34300000 | NA | NA
| Pre | 2 | 388 | 3880 | 1 | 1000 | 100 | 100000 | 388000000 | NA | NA
14.1 | 1 | 2 | 9 | 90 | 100 | 100 | 100 | 1000000 | 90000000 | 0.1794 | 16146000 | 0.012816 | 1259788200 | 1
8.61 | 2 | 2 | 351 | 3510 | 1 | 100 | 1000 | 100000 | 351000000 | 0.2714 | 95261400 | 0.075617 | 1243642200 | 0.98718
5.39 | 3 | 2 | 341 | 3410 | 1 | 100 | 1000 | 100000 | 341000000 | 0.9062 | 309014200 | 0.24529 | 1148380800 | 0.91157
3.3 | 4 | 2 | 391 | 3910 | 1 | 100 | 1000 | 100000 | 391000000 | 1.4904 | 582746400 | 0.46257 | 839366600 | 0.66628
2.08 | 5 | 2 | 455 | 4550 | 1 | 100 | 1000 | 100000 | 455000000 | 0.5336 | 242788000 | 0.19272 | 256620200 | 0.2037
1.36 | 6 | 2 | 167 | 1670 | 1000 | 100 | 1 | 100000 | 167000000 | 0.0828 | 13827600 | 0.010976 | 13832200 | 0.01098
0.98 | 7 | 2 | 1 | 10 | 1000 | 100 | 1 | 100000 | 1000000 | 0.0046 | 4600 | 3.6514e-06 | 4600 | 3.6514e-06
MOC | 8 | 2 | 0 | 0 | 1000 | 100 | 1 | 100000 | 0 | 0.0092 | 0 | 0 | 0 | 0
| Post | 2 | 578 | 5780 | 1 | 1000 | 10 | 10000 | 57800000 | NA | NA
| Pre | 3 | 483 | 4830 | 1 | 1000 | 100 | 100000 | 483000000 | NA | NA
14.1 | 1 | 3 | 21 | 210 | 100 | 100 | 100 | 1000000 | 210000000 | 0.1755 | 36855000 | 0.034015 | 1083501000 | 1
8.61 | 2 | 3 | 349 | 3490 | 1 | 100 | 1000 | 100000 | 349000000 | 0.2655 | 92659500 | 0.085519 | 1046646000 | 0.96599
5.39 | 3 | 3 | 225 | 2250 | 1 | 100 | 1000 | 100000 | 225000000 | 0.8865 | 199462500 | 0.18409 | 953986500 | 0.88047
3.3 | 4 | 3 | 369 | 3690 | 1 | 100 | 1000 | 100000 | 369000000 | 1.458 | 538002000 | 0.49654 | 754524000 | 0.69638
2.08 | 5 | 3 | 270 | 2700 | 1 | 100 | 1000 | 100000 | 270000000 | 0.522 | 140940000 | 0.13008 | 216522000 | 0.19984
1.36 | 6 | 3 | 933 | 9330 | 1000 | 100 | 1 | 100000 | 933000000 | 0.081 | 75573000 | 0.069749 | 75582000 | 0.069757
0.98 | 7 | 3 | 2 | 20 | 1000 | 100 | 1 | 100000 | 2000000 | 0.0045 | 9000 | 8.3064e-06 | 9000 | 8.3064e-06
MOC | 8 | 3 | 0 | 0 | 1000 | 100 | 1 | 100000 | 0 | 0.009 | 0 | 0 | 0 | 0
| Post | 3 | 672 | 6720 | 1 | 1000 | 10 | 10000 | 67200000 | NA | NA
|  | Start wgt | end wgt | vol nebulised (ml) | vol remaining | Pre-Neb Concentration | Number of PFU nebulised theoretically |  |  |  | Total PFU | Efficiency | MMAD | GSD
| For Run 1 | 42.1 | 37.2 | 4.9 | 0.1 | 342000000 | 1675800000 |  |  | Run 1 | 1072884400 | 0.64022 | 2.8264 | 1.75
| For Run 2 | 42.3 | 37.7 | 4.6 | 0.4 | 388000000 | 1784800000 |  |  | Run 2 | 1259788200 | 0.70584 | 2.62 | 2.22
| For Run 3 | 42.9 | 38.4 | 4.5 | 0.5 | 483000000 | 2173500000 |  |  | Run 3 | 1083501000 | 0.49851 | 2.82 | 1.97
| Weight Run | Cup | Weight before | Weight After | Weight Difference | Proportion of vol nebulised | Proportion but to 2dp | Run1 Volumes | Run2 Volumes | Run3 Volumes
|  | 1 | 90.5341 | 90.7225 | 0.1884 | 0.039196 | 0.039 | 0.1911 | 0.1794 | 0.1755
|  | 2 | 51.3628 | 51.6468 | 0.284 | 0.059085 | 0.059 | 0.2891 | 0.2714 | 0.2655
|  | 3 | 51.5593 | 52.5047 | 0.9454 | 0.19669 | 0.197 | 0.9653 | 0.9062 | 0.8865
|  | 4 | 51.4084 | 52.9637 | 1.5553 | 0.32358 | 0.324 | 1.5876 | 1.4904 | 1.458
|  | 5 | 51.3307 | 51.8902 | 0.5595 | 0.1164 | 0.116 | 0.5684 | 0.5336 | 0.522
|  | 6 | 51.6574 | 51.742 | 0.0846 | 0.017601 | 0.018 | 0.0882 | 0.0828 | 0.081
|  | 7 | 51.8105 | 51.8175 | 0.007 | 0.0014563 | 0.001 | 0.0049 | 0.0046 | 0.0045
|  | 8 | 92.3665 | 92.3761 | 0.0096 | 0.0019973 | 0.002 | 0.0098 | 0.0092 | 0.009
|  | Total | 41.705 | 36.8984 | 4.8066
|  |  |  | Total proportion of nebulised collected | 0.756
75% total collected!

## Raw data for plotting R
Particle Diameter | Sample | Replicate | Number PFU | Fraction of total PFU recovered | cumulative PFU | cumulative PFU recovered
| Pre | 1 | NA
14.1 | 1 | 1 | 51597000 | 0.048092 | 1072884400 | 1
8.61 | 2 | 1 | 39317600 | 0.036647 | 1021287400 | 0.95191
5.39 | 3 | 1 | 202713000 | 0.18894 | 981969800 | 0.91526
3.3 | 4 | 1 | 625514400 | 0.58302 | 779256800 | 0.72632
2.08 | 5 | 1 | 134142400 | 0.12503 | 153742400 | 0.1433
1.36 | 6 | 1 | 19404000 | 0.018086 | 19600000 | 0.018269
0.98 | 7 | 1 | 127400 | 0.00011875 | 196000 | 0.00018269
MOC | 8 | 1 | 68600 | 6.394e-05 | 68600 | 6.394e-05
| Post | 1 | NA
| Pre | 2 | NA
14.1 | 1 | 2 | 16146000 | 0.012816 | 1259788200 | 1
8.61 | 2 | 2 | 95261400 | 0.075617 | 1243642200 | 0.98718
5.39 | 3 | 2 | 309014200 | 0.24529 | 1148380800 | 0.91157
3.3 | 4 | 2 | 582746400 | 0.46257 | 839366600 | 0.66628
2.08 | 5 | 2 | 242788000 | 0.19272 | 256620200 | 0.2037
1.36 | 6 | 2 | 13827600 | 0.010976 | 13832200 | 0.01098
0.98 | 7 | 2 | 4600 | 3.6514e-06 | 4600 | 3.6514e-06
MOC | 8 | 2 | 0 | 0 | 0 | 0
| Post | 2 | NA
| Pre | 3 | NA
14.1 | 1 | 3 | 36855000 | 0.034015 | 1083501000 | 1
8.61 | 2 | 3 | 92659500 | 0.085519 | 1046646000 | 0.96599
5.39 | 3 | 3 | 199462500 | 0.18409 | 953986500 | 0.88047
3.3 | 4 | 3 | 538002000 | 0.49654 | 754524000 | 0.69638
2.08 | 5 | 3 | 140940000 | 0.13008 | 216522000 | 0.19984
1.36 | 6 | 3 | 75573000 | 0.069749 | 75582000 | 0.069757
0.98 | 7 | 3 | 9000 | 8.3064e-06 | 9000 | 8.3064e-06
MOC | 8 | 3 | 0 | 0 | 0 | 0
| Post | 3 | NA